Survey of comments on:

BT/SE0045/REV	Subsector: W33	Comments by: 2009-12-07

Standstill:

Title: Supply and distribution boards for buildings - Supplementary requirements to SS-EN 60439-1 - Revision of SS 436 21 31

Description: The present edition of the standard covers type-tested (TTA) distribution boards rated 63-1500 A for line connection of concession distribution networks with 400 V system voltage and up to 6 service cables. The standard specifies e.g. types used in Sweden, minimum IP-class and temperature rise tests.

The standard does not cover distribution boards in small buildings (homes) with up to 63 A service fuse.

CENELEC Technical Body in the scope of which this project could fall: /

Justification on the needs for this work: The standard needs updating, primarily due to the imminent adoption of the new EN 61439-1, which eliminates the discrimination between type-tested assemblies (TTA) and partially type-tested assemblies (PTTA), and to the Swedish implementation of several revised parts of HD 384/60364.

Target :

Replies:

| Country | YES | NO | Comments / Remarks |
| --- | --- | --- | --- |

| CZ |  | X |  |
| --- | --- | --- | --- |
| PL |  | X |  |

Result of consultation: SE NC is free to revise the national standard - no standstill. No need to submit final draft to CENELEC procedures. (clause 4.1.4 of CENELEC Guide 8)